# Tentative Schedule
Note: The labs actually done may differ from this list due to equipment malfunction, new labs being added to the curriculum, or other contingencies.
Date	Topic	Lab	Activities
8/27	1 - Introduction to the Pico W	Getting Started, ch. 1 – 3	Solder PicoW pins / Install latest version of micropython on PicoW / Install Thonny / First programs. Page in parenthses. / Challenge: Loop the Loop (29). / Challenge: Higher or lower (32). / Challenge: Complex Numbers (hand out). / Challenge: Color code resistors (43).
9/3	2 – Physical Computing	Getting Started, ch. 4 – 6 / Pin functions, resistors. / Modules and imports. / Threads. / IRQ’s	Challenge: Longer & Shorter Light Ups (49). / Challenge: Multiple LED’s (53). / Challenge: Buttons and LED’s (57). / Challenge: Improve with Second Button (66). / Challenge: Timings (74). Print reaction time. / Challenge: Timings (79). Print time.
9/10	3- PicoW Interfaces	Getting Started, ch. 7 – 9 / IRQ’s. / ADC, hex. / File storage.	Challenge: Customization. Add second alarm and print which one. / Challenge: Customization. Add light sensor. / Challenge: Stop program if no more storage.
9/17	4 – a	Getting Started, ch. 10, Appendix C. / Communication: I2C, SPI. / Communication: Programmable IO / Using WiFi.	Challenge: display and log temperature and light. / Challenge: Make a moving light pattern.
9/24	5 – a	Capacitors*	(Labs & projects marked * have an outline below.)
10/1	6 – b	Project Function Generator*	Solder and program Pico W high-speed DAC as an arbitrary waveform generator.
10/8	7 – a	RC Filters	Build single pole RC high- and low pass filters. Measure and characterize them with the Function Generator.
10/15	8 – a	Diode and LED’s.	Use the Function Generator as a low speed DAC to measure I-V curves of resistors, and diodes. Measure turn-on voltage of visible LED’s. / Program addressable LED strips.
10/22	9 – a	Op Amps	Large gain circuit and transimpedance photodiode amplifier.
10/29	10 – a	Stepper Motors	Use Pico W with motor driver boards to move a linear stage driven by stepper motors. Work on Crane Operator’s Trick.
11/5	11 – a	Project: Pendulum	Add a second Pico W with IMU to pendulum bar, powered by a battery. / Program Pico W’s to communicate, moving to stationary. / Test. Measure small amplitude period and damping.
11/12	12 – a	Project: Pendulum	Add stepper motor driver that moves pivot with amplitude and frequency. / Demonstrate over the top and challenge.
11/19	13 – a		Measure large amplitude period versus amplitude.
12/3	14 – a		Try to find period 2 motion.
Final			Presentations and final paper.

# Lab and Project Notes

## Capacitors
Use a capacitor to make an oscillator. The picoW turns on a digital output to charge a capacitor through an RC circuit. When it reached 2/3 Vcc, it turns off, when it reached 1/3 Vcc, it turns back on. The goals are to build and model this device, measure it, and make a timer with a given period.
## Project Function Generator
Basic idea is to use the picoW digital outputs to drive an R-2R DAC. Once this is characterized, it can be programmed using pio and dma to make a very high speed arbitrary waveform generator. This programming is an advanced topic that will not be covered; they will just use the given python code.
They will modify the program to make a sine wave with parameters of amplitude and frequency.
## RC Filters
(I2S) to create a sine wave with an . This drives an RC filter, and the ADC measures the output. The goal is to measure the RC filter’s amplitude response versus frequency. Do both a high- and low-pass RC filter.
## Diodes & LED’s
Use PicoW + DAC to measure transfer curve of a diode. Fit to exponential. Repeat with red, green, and blue LEDs.
Digitally control modern LED strips. Program different patterns.
## Op Amps
Use low voltage dual op amps. One op amp makes a virtual ground. The second is available for circuits.
Make a high gain amplifier and demonstrate.
Make a transimpedance amplifier that is an interface with a sensitive photodiode.
## Stepper Motors
Use a motor driver breakout board to drive a stepper motor that moves a linear stage.
Work on crane translation problem.
First potentiometer control of pendulum position.
Challenge: Move pendulum so no initial or final transients.
See Am. J. Phys. 90, 169–176 (2022).
## Project: Rigid Pendulum
This is a multi-week project that involves more instrumentation, and more advanced analysis and simulation.
### 1. Add stepper motor driver that moves pivot with amplitude and frequency.
Record pendulum amplitude vs. drive frequency. Try to keep angle small. Look for phase change while going through resonance.
### 2. Demonstrate over the top and challenge.
Challenge students to program stepper to start from stationary and end with pendulum in continuous over the top motion.
### 3. Measure large amplitude period versus amplitude.

### 4. Try to find period 2 motion.